Metrology Law of the People's Republic of China

(Adopted at the 12th Session of the Standing Committee of the Sixth National People's Congress on September 6, 1985; First amended in accordance with the Decision on Amending Certain Laws at the 10th Session of the Standing Committee of the Eleventh National People's Congress on August 27, 2009; Second amended in accordance with the Decision on Amending Seven Laws including the Marine Environment Protection Law of the People's Republic of China at the 6th Session of the Standing Committee of the Twelfth National People's Congress on December 28, 2013; Third amended in accordance with the Decision on Amending Five Laws including the Metrology Law of the People's Republic of China at the 14th Session of the Standing Committee of the Twelfth National People's Congress on April 24, 2015; Fourth amended in accordance with the Decision on Amending the Tendering and Bidding Law of the People's Republic of China and the Metrology Law of the People's Republic of China at the 31st Session of the Standing Committee of the Twelfth National People's Congress on December 27, 2017; Fifth amended in accordance with the Decision on Amending Fifteen Laws including the Wildlife Protection Law of the People's Republic of China at the 6th Session of the Standing Committee of the Thirteenth National People's Congress on October 26, 2018)

Contents

Chapter I General Provisions
Chapter II Metrological Reference Standards, Metrological Standard Instruments, and Metrological Verification
Chapter III Management of Measuring Instruments
Chapter IV Metrological Supervision
Chapter V Legal Liability
Chapter VI Supplementary Provisions

Chapter I General Provisions

Article 1
This Law is enacted to strengthen metrological supervision and administration, ensure the uniformity of the national system of measurement units and the accuracy and reliability of quantities, facilitate production, trade, and scientific and technological development, meet the needs of socialist modernization, and safeguard the interests of the State and the people.

Article 2
Within the territory of the People's Republic of China, the establishment of metrological reference standards and metrological standard instruments, the conduct of metrological verification, and the manufacture, repair, sale, and use of measuring instruments must comply with this Law.

Article 3
The State applies a legal system of measurement units.

The International System of Units (SI) and other measurement units selected by the State shall be the national legal measurement units. The names and symbols of the national legal measurement units shall be published by the State Council.

Measures for the use of non-legal measurement units under special circumstances shall be separately formulated by the metrological administrative department under the State Council.

Article 4
The metrological administrative department under the State Council shall exercise unified supervision and administration over metrological work nationwide.

The metrological administrative departments of local people’s governments at or above the county level shall exercise supervision and administration over metrological work within their respective administrative areas.

Chapter II Metrological Reference Standards, Metrological Standard Instruments, and Metrological Verification

Article 5
The metrological administrative department under the State Council shall be responsible for establishing various metrological reference standards as the supreme basis for unifying quantities nationwide.

Article 6
The metrological administrative departments of local people’s governments at or above the county level may, in light of local needs, establish public metrological standard instruments for social use, which shall be used only after passing the assessment presided over by the metrological administrative department of the people’s government at the next higher level.

Article 7
The relevant competent departments under the State Council and the relevant competent departments of the people’s governments of provinces, autonomous regions, and municipalities directly under the Central Government may, in light of the special needs of their departments, establish metrological standard instruments for use within their respective departments, and their highest-level metrological standard instruments shall be used only after passing the assessment presided over by the metrological administrative department of the people’s government at the same level.

Article 8
Enterprises and public institutions may, as needed, establish metrological standard instruments for use within their own units, and their highest-level metrological standard instruments shall be used only after passing the assessment presided over by the relevant metrological administrative department of the people’s government.

Article 9
The metrological administrative departments of people’s governments at or above the county level shall carry out compulsory verification of public metrological standard instruments for social use, the highest-level metrological standard instruments used by departments, enterprises, and public institutions, and working measuring instruments included in the compulsory verification catalogue that are used for trade settlement, safety protection, medical and health care, and environmental monitoring. Those that have not been submitted for verification in accordance with regulations or that fail verification shall not be used. The catalogue of working measuring instruments subject to compulsory verification and the measures for their administration shall be formulated by the State Council.

For other metrological standard instruments and working measuring instruments other than those specified in the preceding paragraph, the user units shall conduct regular verification on their own or send them to other metrological verification institutions for verification.

Article 10
Metrological verification must be carried out in accordance with the national metrological verification system table. The national metrological verification system table shall be formulated by the metrological administrative department under the State Council.

Metrological verification must comply with metrological verification regulations. The national metrological verification regulations shall be formulated by the metrological administrative department under the State Council. Where there are no national metrological verification regulations, the relevant competent departments under the State Council and the metrological administrative departments of the people’s governments of provinces, autonomous regions, and municipalities directly under the Central Government shall separately formulate departmental metrological verification regulations and local metrological verification regulations.

Article 11
Metrological verification work shall be carried out locally and nearby in accordance with the principle of economic rationality.

Chapter III Management of Measuring Instruments

Article 12
Enterprises and public institutions that manufacture or repair measuring instruments must have facilities, personnel, and verification instruments and equipment appropriate to the measuring instruments they manufacture or repair.

Article 13
When an enterprise or public institution manufacturing measuring instruments produces a new type of measuring instrument that has not previously been manufactured by that unit, it must have the metrological performance of its sample assessed and approved by the metrological administrative department of the people’s government at or above the provincial level before it can be put into production.

Article 14
No entity or individual may manufacture, sell, or import measuring instruments in non-legal measurement units in violation of regulations.

Article 15
Enterprises and public institutions that manufacture or repair measuring instruments must carry out verification of the measuring instruments they manufacture or repair, ensure that the metrological performance of the products meets the requirements, and issue product conformity certificates for qualified products.

Article 16
When using measuring instruments, their accuracy shall not be damaged so as to harm the interests of the State and consumers.

Article 17
Individual industrial and commercial households may manufacture or repair simple measuring instruments.

The scope of measuring instruments that may be manufactured or repaired by individual industrial and commercial households and the measures for their administration shall be formulated by the metrological administrative department under the State Council.

Chapter IV Metrological Supervision

Article 18
The metrological administrative departments of people’s governments at or above the county level shall, in accordance with law, conduct supervision and inspection over the manufacture, repair, sale, import, and use of measuring instruments, as well as metrological verification and other related metrological activities. The relevant entities and individuals shall not refuse or obstruct such supervision and inspection.

Article 19
The metrological administrative departments of people’s governments at or above the county level may, as needed, appoint metrological supervisors. The measures for the administration of metrological supervisors shall be formulated by the metrological administrative department under the State Council.

Article 20
The metrological administrative departments of people’s governments at or above the county level may, as needed, establish metrological verification institutions or authorize the metrological verification institutions of other entities to carry out compulsory verification and other verification and testing tasks.

The personnel performing the verification and testing tasks prescribed in the preceding paragraph must pass assessment.

Article 21
Disputes arising from the accuracy of measuring instruments shall be settled on the basis of the data verified by metrological reference standards or public metrological standard instruments for social use.

Article 22
A product quality inspection institution that provides notarized data to the public must have its capabilities and reliability for metrological verification and testing assessed and approved by the metrological administrative department of the people’s government at or above the provincial level.

Chapter V Legal Liability

Article 23
Any person who manufactures or sells a new type of measuring instrument that has not passed assessment shall be ordered to stop manufacturing and selling such new product, and their illegal gains shall be confiscated, and a fine may also be imposed.

Article 24
Any person who manufactures, repairs, or sells measuring instruments that are not up to standard shall have their illegal gains confiscated, and a fine may also be imposed.

Article 25
Where measuring instruments within the scope of compulsory verification are used without being submitted for verification in accordance with regulations, or are used after failing verification, the user shall be ordered to stop using them, and a fine may also be imposed.

Article 26
Where anyone uses unqualified measuring instruments or damages the accuracy of measuring instruments, causing losses to the State and consumers, they shall be ordered to compensate for the losses, their measuring instruments and illegal gains shall be confiscated, and a fine may also be imposed.

Article 27
Where anyone manufactures, sells, or uses measuring instruments for the purpose of deceiving consumers, their measuring instruments and illegal gains shall be confiscated and a fine shall be imposed; if the circumstances are serious, the directly responsible person of the individual or unit shall be investigated for criminal liability in accordance with the relevant provisions of the Criminal Law.

Article 28
If, in violation of the provisions of this Law, the manufacture, repair, or sale of unqualified measuring instruments causes personal injury or death or substantial property damage, the directly responsible person of the individual or unit shall be investigated for criminal liability in accordance with the relevant provisions of the Criminal Law.

Article 29
Where metrological supervisory personnel, through violation of law or dereliction of duty, cause serious consequences, they shall be investigated for criminal liability in accordance with the relevant provisions of the Criminal Law; if the circumstances are minor, they shall be given administrative sanctions.

Article 30
The administrative penalties prescribed in this Law shall be decided by the metrological administrative departments of local people’s governments at or above the county level.

Article 31
If a party disagrees with the administrative penalty decision, it may file a lawsuit with the people’s court within 15 days from the date of receipt of the penalty notice; if, with respect to an administrative penalty decision imposing a fine or confiscation of illegal gains, the party neither files a lawsuit nor complies with the decision within the time limit, the authority that made the penalty decision shall apply to the people’s court for compulsory enforcement.

Chapter VI Supplementary Provisions

Article 32
Measures for the supervision and administration of metrological work in the People’s Liberation Army and the national defense science, technology, and industry systems shall be separately formulated by the State Council and the Central Military Commission in accordance with this Law.

Article 33
The metrological administrative department under the State Council shall formulate implementing rules in accordance with this Law and submit them to the State Council for approval and implementation.

Article 34
This Law shall take effect as of July 1, 1986.